Deep Margin Cosine Autoencoder-Based Medical Hyperspectral Image Classification for Tumor Diagnosis

An Exhaustive Technical, Mathematical, and Clinical Analysis

| Document Metadata Attribute | Analytical Specification & Publication Context |
| --- | --- |
| Original Publication Title | Deep Margin Cosine Autoencoder-Based Medical Hyperspectral Image Classification for Tumor Diagnosis |
| Authors & Institutional Affiliations | Meiling Wang, Yongchang Xu, Zhisheng Wang, Changda Xing (Nanjing University of Aeronautics and Astronautics, China University of Mining and Technology) |
| Journal Publication Details | IEEE Transactions on Instrumentation and Measurement, Volume 72, 2023 (Article # 2520512) |
| Presentation Seminar Team | Rudra Pratap Singh (24/CS/378), Saksham Kumar (24/CS/393), Sarthak Tomar (24/CS/403), Shobhit Narera (24/CS/423) |
| Primary Methodological Focus | Deep Margin Cosine Autoencoder (DMCA), Classifier-Constrained Loss, Cosine Angular Margin (m), L1-Sparsity Regularization |
| Benchmark Clinical Datasets | In Vivo Hyperspectral Human Brain (In Vivo HHB) Dataset & Multidimensional Choledoch (MC) Dataset |
| Codebase Reference Architecture | PyTorch Reference Implementation (`dmca/` package, 3-Rung Ablation Ladder, Synthetic MedHSI Pipeline) |

■ EXECUTIVE OVERVIEW & REPORT ARCHITECTURE This master research report provides an exhaustive, human-sounding academic analysis of the groundbreaking paper by Wang et al. (IEEE TIM 2023) and its accompanying technical presentation. The document follows the requested 9-part section structure (0 to 8), detailing the clinical imperatives of intraoperative neurosurgery, optical physics of hyperspectral tissue reflectance, mathematical derivations of DMCA's unified classifier-constrained objective, alternating iterative optimization scheme, ultra-sparse surgical benchmark results (99.97% tumor detection fidelity), 3-rung ablation ladder validation, reference PyTorch codebase architecture, and future clinical translation horizons.

0. Understanding Title

The title of the paper—'Deep Margin Cosine Autoencoder-Based Medical Hyperspectral Image Classification for Tumor Diagnosis'—is a carefully constructed, mathematically rich summary of the novel engineering and clinical paradigm introduced by Wang et al. To establish a thorough, foundational understanding of the research, every single constituent term in the title must be decompounded, analyzed, and contextualized within the broader landscapes of machine learning, optical biophysics, and surgical oncology:

1. 'Deep': Refers to the utilization of multi-layered deep neural network architectures—specifically stacked autoencoder (SAE) structures—capable of automatically mining hierarchical, abstract non-linear spatial-spectral feature representations directly from high-dimensional input data. Unlike shallow hand-crafted feature extractors that rely on manual domain heuristics, deep architectures extract latent feature hierarchies that capture complex intra-band spectral correlations and spatial contextual dependencies across multiple levels of abstraction. Deep stacking allows the model to compress hundreds of continuous narrow spectral bands into a compact latent space while preserving highly discriminative pathological features.

2. 'Margin': Refers to the introduction of an explicit geometric decision boundary cushion (m > 0) enforced directly within the latent feature vector space. By introducing a positive cosine margin constraint into the classifier loss, the network forces feature representations belonging to the same pathological class to contract tightly around their primary class vector axis while simultaneously driving feature representations of opposing classes further apart in angular space. This margin prevents boundary ambiguity, eliminates intra-class feature dispersion, and minimizes misclassification along complex tissue interface zones during intraoperative resection.

3. 'Cosine': Specifies the geometric metric and normalization transformation applied to feature vectors and class weight vectors. By imposing strict L2 normalization on both weight vectors and latent feature vectors, Euclidean length variations are eliminated. Consequently, inner products between weight vectors and feature vectors are transformed into pure cosine angular similarities scaled by a fixed scale factor s. This ensures that classification decisions are governed strictly by feature orientation in high-dimensional vector space rather than arbitrary vector magnitude scaling, eliminating magnitude bias caused by varying illumination intensities during surgery.

4. 'Autoencoder': Represents the foundational unsupervised neural network framework comprising an encoder function that compresses high-dimensional input vectors into a compact latent representation, and a decoder function that reconstructs the original input vector from the latent representation. In the DMCA framework, the autoencoder backbone is fundamentally enhanced with L1-norm sparsity penalties to isolate highly selective biomarker features and suppress background spectral noise.

5. 'Based': Indicates that the proposed framework is built upon and structurally anchored by the deep autoencoder architecture, which is fundamentally modified, re-engineered, and extended to integrate top-level classifier preferences directly into its internal optimization loss.

6. 'Medical Hyperspectral Image (MedHSI)': Refers to the state-of-the-art non-invasive optical imaging modality that merges conventional spatial digital imaging with spectroscopy. MedHSI captures radiant optical energy across dozens to hundreds of narrow, continuous wavelength bands spanning the visible and near-infrared spectrum (VNIR, 400 nm to 1000 nm). The resulting 3D data cube contains spatial tissue structures alongside continuous biochemical spectral signatures for every single pixel in the surgical field.

7. 'Classification': The algorithmic task of assigning a discrete diagnostic category label (e.g., normal tissue, malignant tumor tissue, hypervascularized tissue, or labeled background) to every individual spatial-spectral pixel vector within a 3D medical hyperspectral scene.

8. 'for Tumor Diagnosis': The ultimate clinical objective of the entire work: providing non-contact, label-free, real-time, highly reliable intraoperative optical guidance to assist surgeons in delineating malignant tumor margins during active neurosurgery and microscopic choledoch pathology, preventing incomplete tumor resection and reducing accidental injury to vital healthy tissues.

Synthesizing these eight conceptual pillars illuminates the core methodological contribution of the paper: Wang et al. address the primary failure mode of traditional deep learning MedHSI classification—wherein feature extraction autoencoders and classifier heads are trained as completely independent, uncoupled entities—by constructing a Deep Margin Cosine Autoencoder (DMCA). DMCA unifies autoencoder feature extraction, sparse L1 regularizers, classifier loss constraints, and cosine angular margins into a singular, mathematically cohesive optimization objective, unlocking unprecedented classification accuracy for intraoperative tumor diagnosis.

Furthermore, examining the title in the context of clinical deployment reveals why each component is mathematically indispensable. Standard Euclidean distances in high-dimensional spectral space are notoriously sensitive to signal amplitude variations caused by non-uniform surgical illumination, tissue curvature, and specular highlights. By converting feature vectors into normalized cosine directions, DMCA isolates the fundamental biochemical absorption profile of the tissue from ambient light intensity. Furthermore, by embedding the margin constraint into the autoencoder's latent layer, DMCA ensures that the feature extractor creates a feature manifold tailored specifically to the classifier's decision hyperplanes, resolving the incompatibility problem that plagued prior deep learning architectures.

In addition, the title encapsulates the interdisciplinary nature of the work. It bridges advanced optical instrumentation, linear algebra, non-convex optimization, and surgical oncology. By bringing together autoencoder representation learning and margin-based decision theory, DMCA establishes a unified paradigm that directly addresses both the high dimensionality of spectral measurements and the extreme clinical sensitivity required for cancer margin detection.

1. Introduction and Background

1.1 The Clinical Challenge in Modern Surgical Oncology

Malignant tumor diseases, particularly high-grade brain gliomas (such as glioblastoma multiforme) and abdominal cholangiocarcinomas, represent severe public health crises worldwide. These cancers exhibit aggressive local infiltration, high mortality rates, and rapid post-operative recurrence. In surgical oncology, complete radical resection—the total surgical removal of all viable tumor tissue while scrupulously preserving surrounding healthy parenchyma and critical neurovascular structures—is universally recognized as the single most vital factor determining long-term patient survival, progression-free survival, and post-operative functional recovery.

However, achieving total radical resection during surgery is fraught with extreme technical difficulty. Malignant tumor cells infiltrate surrounding healthy parenchyma along microvascular networks, basement membranes, and neural fiber tracts, causing tumor margins to become blurred, visually ambiguous, and highly indistinct. Under standard white-light operating microscopes, cancerous tissue frequently appears visually indistinguishable from non-cancerous edema, reactive gliosis, or hypervascularized tissue. Consequently, neurosurgeons and oncological surgeons face a constant dilemma: aggressive resection risks causing catastrophic permanent neurological deficits (such as paralysis, aphasia, or cognitive collapse), whereas conservative resection leaves behind microscopic residual tumor cells that inevitably trigger lethal disease recurrence.

This diagnostic challenge is exacerbated by the intricate anatomy of the central nervous system and biliary tract. In neurosurgery, a margin error of even one millimeter can mean the difference between preserving motor function or inflicting permanent hemiplegia. Similarly, in choledoch surgery, distinguishing cholangiocarcinoma from benign bile duct inflammation is crucial to avoid unnecessary organ excision or incomplete cancer removal. Surgeons urgently require non-invasive, real-time diagnostic tools that provide wide-field intraoperative margin guidance with high spatial and spectral precision.

Furthermore, intraoperative decision-making must occur rapidly under high-stress conditions. Unlike elective diagnostic procedures performed in outpatient settings, surgical margin delineation happens dynamically while the patient is under general anesthesia. Any delay extends surgical duration, increases blood loss, and elevates anesthetic complications. Therefore, an intraoperative guidance technology must not only be highly accurate but also computationally efficient and seamlessly integrated into standard operating theater workflows.

1.2 Limitations of Current Gold-Standard Diagnostics

To resolve intraoperative margin ambiguity, clinical oncology has traditionally relied on histopathological biopsy evaluation. During surgical intervention, frozen-section biopsy samples are surgically excised from the operating field, rapidly frozen, sliced into microscopic sections, stained with hematoxylin and eosin (H&E), and evaluated under microscopic magnification by expert pathologists. Although frozen-section histopathology is universally acknowledged as the diagnostic 'gold standard', its operational constraints severely restrict its utility for dynamic intraoperative surgical guidance:

Inherent Physical Invasiveness: Excising biopsy specimens requires physically cutting tissue from the surgical bed, inevitably causing irreversible structural damage to healthy brain or choledoch tissue.

Extremely Time-Consuming Latency: Preparing, freezing, sectioning, staining, and reviewing frozen biopsy sections requires 30 to 45 minutes per sample. This prolonged latency extends patient exposure to general anesthesia, increases infection risks, and halts surgical workflow.

Discrete Point-Sampling Limitation: Histopathology evaluates only discrete, isolated point samples excised from specific coordinates. It cannot provide wide-field, continuous visual maps across the entire surgical bed, leaving un-biopsied boundary regions unmapped.

Subjective Inter-Observer Variance: Pathological diagnosis depends entirely on human expert visual judgment under microscopes, introducing subjective inter-observer variance, qualitative ambiguity, and potential diagnostic error.

Because of these inherent drawbacks, relying exclusively on intraoperative frozen sections is insufficient for modern precision surgery. Surgeons require a continuous, wide-field optical technique that operates non-invasively, eliminating biopsy damage and providing real-time feedback directly on the surgical screen.

1.3 Limitations of Pre-Operative Radiological Imaging Modalities

Non-invasive radiological modalities, such as Magnetic Resonance Imaging (MRI), Positron Emission Tomography (PET-CT), X-ray imaging, and Computed Tomography (CT), have undeniably revolutionized diagnostic radiology. Wu et al. introduced attention-based glioma grading networks (AGGN) for MRI feature extraction, while Li et al. designed computer-aided diagnosis models for chest X-rays. However, radiological imaging modalities suffer from critical operational limitations when applied to real-time intraoperative guidance:

Intraoperative Brain Shift & Physical Deformation: Pre-operative MRI and CT scans depict tissue architecture prior to surgical intervention. Once craniotomy is performed, dura is opened, and cerebrospinal fluid vents, the brain shifts, deforms, and sags physically under gravity ('brain shift'). This deformation renders pre-operative MRI spatial coordinates inaccurate by several millimeters during active surgery.

Lack of Real-Time Intraoperative Guidance: Standard intraoperative MRI or CT scanners cannot operate continuously at real-time video frame rates inside the surgical field without interrupting surgery, requiring cumbersome patient transport or specialized intraoperative MRI suites.

Ionizing Radiation & Chemical Contrast Toxicity: CT and PET-CT subject patients to ionizing radiation and require exogenously injected intravenous contrast agents, carrying non-negligible risks of nephrotoxicity, severe allergic reactions, and systemic physiological stress.

These constraints underscore the clinical imperative for a novel imaging technology that is non-ionizing, contrast-agent-free, insensitive to brain shift, and capable of real-time wide-field optical mapping.

1.4 Fundamentals of Medical Hyperspectral Imaging (MedHSI)

To overcome the limitations of histopathology and radiological imaging, Medical Hyperspectral Imaging (MedHSI) has emerged as a groundbreaking, non-contact, label-free, non-ionizing, non-invasive optical diagnostic paradigm. MedHSI combines digital imaging with optical spectroscopy, capturing radiant light intensity across hundreds of narrow, continuous, contiguous wavelength bands spanning the visible and near-infrared spectrum (VNIR, 400 nm to 1000 nm).

When light strikes biological tissue, it undergoes wavelength-dependent absorption, reflection, and scattering governed by tissue biochemistry and cellular architecture. Key biological chromophores—including oxygenated hemoglobin (HbO2), deoxygenated hemoglobin (HHb), water, lipids, cytochrome enzymes, and cellular structural proteins—possess unique spectral absorption signatures across the VNIR range. Because malignant transformation fundamentally alters tissue metabolism, microvascular density, protein conformation, organelle scattering, and water content, tumor tissues exhibit distinct spectral reflectance profiles compared to healthy parenchyma. MedHSI records these spectral curves for every pixel in the field of view, constructing a high-dimensional 3D data cube.

By capturing both spatial structures and continuous molecular spectra, MedHSI enables optical biopsy: classifying pathological state non-invasively at every pixel without physical tissue removal. However, analyzing 3D MedHSI cubes requires overcoming significant computational hurdles, as contiguous spectral bands exhibit extreme correlation, high dimensionality, and susceptibility to sensor noise.

1.5 Comprehensive Comparison: RGB vs. Hyperspectral Imaging

As highlighted in the presentation seminar by Rudra Pratap Singh, Saksham Kumar, Sarthak Tomar, and Shobhit Narera, the physical and informational differences between standard RGB imaging and MedHSI underscore why MedHSI requires advanced machine learning frameworks:

| Attribute / Characteristic | Standard RGB Imaging | Medical Hyperspectral Imaging (MedHSI) |
| --- | --- | --- |
| Spectral Resolution | 3 broad spectral channels (Red, Green, Blue) | Hundreds of continuous narrow spectral bands (e.g., 60 to 826 bands) |
| Spectral Wavelength Range | Visible spectrum only (~400 nm - 700 nm) | Extended spectrum (VNIR: 400 nm - 1000 nm, FTIR: 5882 - 6250 nm) |
| Information Content | Spatial appearance, broad color, shape, boundaries | Spatial structure + continuous biochemical/molecular spectral signatures |
| Pathological Sensitivity | Superficial visual appearance; blind to sub-surface physiological changes | Perceives subtle intracellular, metabolic, and vascular alterations |
| Data Geometry & Shape | 3D Tensor (Height x Width x 3) | High-dimensional 3D Cube (Height x Width x Wavelength Bands) |
| Redundancy & Noise | Low redundancy, minimal inter-channel correlation | High band-to-band correlation, high spectral redundancy, noise vulnerability |

■ CLINICAL IMPERATIVE & OPTICAL PARADIGM MedHSI delivers unprecedented diagnostic depth by capturing both spatial tissue structures and continuous molecular spectral absorption profiles. However, processing high-dimensional MedHSI cubes introduces the 'Curse of Dimensionality', requiring specialized feature extractors like DMCA that extract compact, discriminative features without succumbing to overfitting under ultra-sparse surgical training datasets.

2. Related work and Existing Literature

2.1 Shallow Machine Learning & Handcrafted Feature Approaches

Early MedHSI classification research relied primarily on classical shallow machine learning models operating directly on raw pixel spectral vectors. Classifiers such as Support Vector Machines (SVM) and Logistic Regression (LR) were widely adopted due to their solid mathematical formulations. For example, Akbari et al. utilized visible and infrared spectral signatures to detect intestinal ischemia, while Dicker et al. employed spectral signatures from stained dermal tissue to distinguish benign from malignant dermal tumors. Liu et al. non-invasively measured reflectance spectra of tongue tissues for tumor detection.

To leverage spatial structure alongside spectral curves, researchers developed hybrid feature extraction methods. SVM-Gabor integrated 2D Gabor filter features to capture spatial texture characteristics before passing features to SVM. Multiple-Feature-Based Adaptive Sparse Representation (MFASR - Fang et al.) exploited original pixel vectors, morphological profiles (MPs), and differential morphological profiles (DMPs) to construct adaptive sparse dictionaries. Despite improving accuracy, shallow methods suffer from severe performance limits because handcrafted features fail to model non-linear spectral transformations and complex spatial-spectral interdependencies.

Other early works explored spectral unmixing and manifold learning. Begelman et al. utilized sparse representation for blind spectral decomposition of transmission light microscopic cubes. Pardo et al. applied directional kernel density estimation to breast tissue spectra, while Ravi et al. combined manifold embedding with semantic segmentation for intraoperative guidance in brain surgery. Wang et al. proposed a morphologic spatial-spectral analysis algorithm for white blood cell classification. While these methods demonstrated the utility of hyperspectral data, their reliance on shallow convex models limited their capacity to generalize across variable patient tissue topologies.

2.2 Deep Learning Breakthroughs in MedHSI Analysis

The rise of deep learning revolutionized MedHSI classification by automatically extracting hierarchical feature representations directly from raw data cubes. Key neural network paradigms include:

Convolutional Neural Networks (CNNs): Halicek et al. developed CNN classifiers for excised head and neck cancer, while Wang et al. proposed 3D CNNs to segment melanoma from 3D hyperspectral pathology images.

Deep Autoencoders (DAE & SAE): Deep Autoencoders learn low-dimensional latent representations by minimizing reconstruction loss. Wei et al. proposed a two-channel DAE for unsupervised blood cell classification.

Advanced Deep Models & Transformers: Advanced deep architectures such as Generative Adversarial Networks (GANs), Deep Belief Networks (DBNs - Ayhan et al.), Fused Deep Models (FMDM - Hao et al.), and Fusion Transformers with parallel CNNs (FUST - Zeng et al.) further pushed classification limits.

2.3 The Uncoupled Feature Extraction & Classification Disconnect

Despite their competitive empirical performance, existing deep learning frameworks for MedHSI classification possess a critical methodological flaw: feature extraction and label prediction are treated as completely independent, uncoupled processes.

In a conventional deep learning pipeline (such as a standard Stacked Autoencoder or CNN), the feature extraction network is optimized solely to minimize reconstruction loss or feature entropy. Once training is complete, the extracted latent features are exported to an independent Softmax layer or SVM classifier for label prediction. Because the feature extractor learns representations without considering the classifier's decision boundaries or margin requirements, the resulting deep features are often incompatible with the classifier head, causing class overlap and unsatisfactory accuracy along complex tissue boundaries.

This uncoupled disconnect is particularly damaging in ultra-sparse surgical regimes. When labeled training samples constitute less than 1% of the dataset, an uncoupled feature extractor easily overfits to background spectral noise, learning latent representations that scatter within class boundaries. When passed to a Softmax layer, these uncoupled features produce wide decision uncertainty. DMCA directly resolves this flaw by introducing a unified loss function that forces the feature extraction autoencoder to account explicitly for the classifier's margin requirements.

3. Proposed Framework Architecture

3.1 Architectural Overview of DMCA

To eliminate the uncoupled disconnect between feature learning and label prediction, Wang et al. proposed the Deep Margin Cosine Autoencoder (DMCA). DMCA unifies feature extraction, classifier compatibility, feature sparsity, and angular margin maximization into a single joint optimization objective.

The overall framework of DMCA (Figure 1 in the original paper) consists of three interconnected components:

1. Deep Autoencoder Backbone: A Stacked Autoencoder (SAE) with J deep encoding layers extracts hierarchical deep spatial-spectral features from input MedHSI cubes.

2. Classifier-Constrained Loss: The Softmax classifier loss is embedded directly as an explicit constraint into the DAE feature learning objective, forcing extracted features to adapt to classifier preferences.

3. Angular Cosine Decision Margin: An extra positive margin (m) is introduced into L2-normalized cosine space, forcing intra-class features to compress tightly while expanding inter-class separation.

3.2 Standard Softmax Loss & L2 Normalization

Consider a 3D MedHSI dataset denoted as H in R^(T x O x Q), where T is spectral resolution (number of bands) and N = O x Q is spatial resolution (number of pixel vectors). Unfolding H yields 2D matrix H in R^(T x N). Given sample feature vector x in R^(L x 1) and answer set Omega, standard Softmax loss is defined as:

loss_softmax = - sum_{k=1}^{|Omega|} log ( p_k ) = - sum_{k=1}^{|Omega|} log ( e^(W_k^T x) / sum_{q=1}^{|Omega|} e^(W_q^T x) )

where W in R^(L x U) is the weight matrix, and W_k is the k-th column vector. Re-writing inner product W_k^T x in cosine angular form:

W_k^T x = ||W_k||_2 * ||x||_2 * cos(W_k, x)

In standard Softmax, vector norms ||W_k||_2 and ||x||_2 can vary dynamically, allowing the network to lower loss simply by inflating feature magnitudes rather than refining decision angles. DMCA eliminates magnitude bias by applying L2 normalization to both weights W_k and features x, scaling them by constant s = ||W_k||_2 * ||x||_2:

loss_s = - sum_{k=1}^{|Omega|} log ( e^(s * cos(W_k, x)) / sum_{q=1}^{|Omega|} e^(s * cos(W_q, x)) )

3.3 Margin Cosine Softmax Formulation

To enforce strict decision boundaries between classes, DMCA introduces a positive cosine margin m > 0 into the target class cosine term:

cos(W_1, x) - m > cos(W_2, x)    (for Class 1)

Because cos(W_k, x) - m is strictly smaller than cos(W_k, x), this inequality enforces a much stricter angular constraint, forcing intra-class feature clusters to compress tightly along class axes. The resulting Margin Cosine Softmax loss (loss_sm) is:

loss_sm = - sum_{k=1}^{|Omega|} log ( e^(s * (cos(W_k, x) - m)) / ( e^(s * (cos(W_k, x) - m)) + sum_{q != k} e^(s * cos(W_q, x)) ) )

3.4 Dense vs. Sparse Feature Representations

As explained in Slide 10 of the presentation seminar, learned neural features can be dense (many active units) or sparse (only a selective few active units). In MedHSI analysis, sparse representations are vital because pathological spectral signatures correspond to specific absorption bands. DMCA incorporates an L1-norm regularizer on latent features to enforce feature selectivity and suppress background noise.

3.5 Layer-Wise Objective Formulation of DMCA

Combining DAE reconstruction loss, L1 sparsity regularization, and Margin Cosine Softmax loss yields the complete DMCA objective for a J-layer network:

min_{H_j, P_j, W_j} sum_{j=1}^J ||H_j - P_j W_j^T H_j||_F^2 + lambda_1 ||W_J^T H_J||_1 - lambda_2 sum_{n=1}^N sum_{u=1}^U log ( e^(s * (cos(W_{J_u}, H_{J_n}) - m)) / ( sum_{i != u} e^(s * cos(W_{J_i}, H_{J_n})) + e^(s * (cos(W_{J_u}, H_{J_n}) - m)) ) )

where lambda_1 is the sparsity penalty, lambda_2 is the margin cosine penalty, H_j, P_j, W_j are layer inputs, decoders, and encoders, and H_{J_n} is the n-th pixel vector at layer J.

3.6 Uniformed Layer Optimization & Auxiliary Variable Relaxation

Because the L1 regularizer and margin cosine term relate exclusively to the deepest layer J, parameters for layers 1 to J-1 are obtained via traditional DAE pre-training. The subproblem for layer J reduces to:

min_{P_J, W_J} ||H_J - P_J W_J^T H_J||_F^2 + lambda_1 ||W_J^T H_J||_1 - lambda_2 sum_{n=1}^N sum_{u=1}^U log ( e^(s * (cos(W_{J_u}, H_{J_n}) - m)) / ( sum_{i != u} e^(s * cos(W_{J_i}, H_{J_n})) + e^(s * (cos(W_{J_u}, H_{J_n}) - m)) ) )

To decouple the non-smooth L1 norm from W_J, an auxiliary variable A = W_J^T H_J is introduced, yielding the relaxed unconstrained problem:

min_{P_J, W_J, A} ||H_J - P_J W_J^T H_J||_F^2 + lambda_1 ||A||_1 + eta ||A - W_J^T H_J||_F^2 - lambda_2 sum_{n=1}^N sum_{u=1}^U log ( e^(s * (cos(W_{J_u}, H_{J_n}) - M_{u,u})) / sum_{i=1}^U e^(s * (cos(W_{J_i}, H_{J_n}) - M_{i,u})) )

where M = diag(m, m, ..., m) in R^(U x U) and eta is the coupling parameter.

3.7 Three-Step Alternating Iterative Scheme (Algorithm 1)

An alternating optimization algorithm updates one parameter set while fixing others:

1. Updating Decoder P_J: Fixing W_J and A, setting derivative to zero yields exact closed-form solution: P_J = H_J H_J^T W_J ( W_J^T H_J H_J^T W_J )^(-1)

2. Updating Encoder W_J: Fixing P_J and A, W_{J_u} is updated via gradient descent using exact partial derivative: d L(W_J) / d W_{J_u} (Equation 15 in paper) with learning rate kappa.

3. Updating Auxiliary Matrix A: Fixing P_J and W_J, A is updated via closed-form soft-thresholding: A = soft( W_J^T H_J , lambda_1 / (2*eta) ) = sign(W_J^T H_J) * max( |W_J^T H_J| - lambda_1/(2*eta) , 0 )

The optimization iterates through Steps 1–3 until convergence condition ||A - W_J^T H_J||_F^2 <= 10^(-3) is satisfied. Figure 3 in the paper shows cost function minimization reaching monotonic convergence in ~20 iterations.

3.8 Two-Stage Training Strategy

Training DMCA proceeds in two distinct stages:

Stage 1 (Pre-training & Initialization): Train first J-1 encoding layers and final Softmax layer as traditional DAE prediction network using training set H with label L_H, initializing intermediate features H_J.

Stage 2 (Unified Layer Optimization): Pass intermediate feature H_J to the J-th uniformed layer and execute Algorithm 1 to independently compute optimal W_J and P_J.

Inference & Prediction Phase: For unlabeled MedHSI cube E, intermediate feature E_J is extracted via trained J-1 layers, exported as F = W_J^T E_J, and fed into Softmax layer for pixel prediction.

4. Datasets Used

4.1 In Vivo Hyperspectral Human Brain (In Vivo HHB) Dataset

The In Vivo HHB database (Fabelo et al.) was acquired intraoperatively during neurosurgery using a customized push-broom hyperspectral imaging camera. The camera covers the 400–1000 nm spectral range with 2–3 nm resolution, recording 826 spectral bands across 36 MedHSIs from human patients. The annotations comprise four classes: Normal Tissue, Tumor Tissue, Hypervascularized Tissue, and Labeled Background.

To reduce computational load, a band sampling factor of 30 was applied, downsampling bands from 826 to 27. Two representative scenes—MedHSI No. 020-01 and MedHSI No. 015-01—were chosen for benchmark comparisons.

4.2 Multidimensional Choledoch (MC) Dataset

The MC database (Zhang et al. / Sun et al.) was captured using microscopic hyperspectral imaging on choledoch tissue samples from 174 patients at Changhai Hospital, Shanghai, China. It comprises 880 MedHSI scenes (689 partial cancer, 49 full cancer, 142 non-cancer). Each scene contains 60 spectral bands with an original spatial resolution of 1280 x 1024 pixels.

A spatial downsampling factor of 5 was applied, reducing resolution to 205 x 256 pixels. Two representative scenes—MedHSI No. x031368-20x-roi3 and MedHSI No. 033629-3-20x-roi5—were evaluated across two classes: Cholangiocarcinoma Tissue and Labeled Normal Tissue.

4.3 Realistic Surgical Ultra-Sparse Training Protocols

As emphasized in Slide 14 of the presentation, DMCA was evaluated under ultra-strict, realistic surgical sampling regimes:

In Vivo HHB Dataset Split: Only 0.1% of labeled pixels per class were sampled for training, leaving 99.9% for testing.

MC Choledoch Dataset Split: Only 0.2% of labeled pixels per class were sampled for training, leaving 99.8% for testing.

Ultra-Sparse 0.01% Surgical Scenario: In extra robustness tests, the authors evaluated an extreme 0.01% training split (99.99% testing), demonstrating DMCA's reliability when surgeons have virtually zero prior labeled biopsy data.

5. Experimental Setup and Results

5.1 Experimental Metrics & Setup

Model performance was evaluated using three quantitative metrics: Overall Accuracy (OA), Average Accuracy (AA), and Kappa Coefficient (Kappa x 100), along with individual class identification rates. Experiments were repeated 10 times to report average values.

5.2 Hyperparameter Tuning ($\lambda_1, \lambda_2$)

A 2D grid search across {0.0001, 0.001, 0.01, 0.1, 1, 10} identified optimal penalty parameters: lambda_1 = 0.1 (sparsity) and lambda_2 = 0.01 (margin cosine loss), with total deep layers J+1 fixed to 4.

5.3 Benchmark Comparison on In Vivo HHB Brain Cancer Dataset

Table I: Quantitative Metric Results on In Vivo HHB MedHSI No. 020-01 (0.1% Training Split)

| Class / Evaluation Metric | SVM | SVM-Gabor | MFASR | SAE | CNN | RPNet | FMDM | FUST | DMCA (Ours) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Normal Tissue (%) | 87.62 | 97.38 | 96.79 | 94.12 | 98.41 | 98.14 | 97.86 | 96.77 | 98.41 |
| 2. Tumour Tissue (%) | 99.12 | 93.22 | 94.67 | 99.86 | 99.56 | 99.94 | 99.47 | 99.25 | 99.97 |
| 3. Hypervascularized Tissue (%) | 67.26 | 77.38 | 90.59 | 92.99 | 93.93 | 93.46 | 94.73 | 93.99 | 99.93 |
| 4. Labeled Background (%) | 89.51 | 94.30 | 96.65 | 99.27 | 100.0 | 100.0 | 99.54 | 99.92 | 99.81 |
| Overall Accuracy - OA (%) | 89.30 | 91.83 | 94.97 | 97.53 | 98.57 | 98.60 | 98.44 | 98.13 | 99.62 |
| Average Accuracy - AA (%) | 85.88 | 90.57 | 94.67 | 96.56 | 97.97 | 97.88 | 97.90 | 97.48 | 99.53 |
| Kappa Coefficient (Kappa x 100) | 85.13 | 88.74 | 93.03 | 96.56 | 98.02 | 98.05 | 97.83 | 97.41 | 99.48 |

Table II: Quantitative Metric Results on In Vivo HHB MedHSI No. 015-01 (0.1% Training Split)

| Class / Evaluation Metric | SVM | SVM-Gabor | MFASR | SAE | CNN | RPNet | FMDM | FUST | DMCA (Ours) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Normal Tissue (%) | 83.78 | 95.81 | 98.05 | 99.52 | 97.34 | 93.62 | 97.39 | 95.35 | 99.68 |
| 2. Tumour Tissue (%) | 83.25 | 73.97 | 99.75 | 96.25 | 95.06 | 99.61 | 98.80 | 99.40 | 99.80 |
| 3. Hypervascularized Tissue (%) | 92.48 | 95.42 | 81.26 | 99.95 | 99.46 | 99.23 | 99.90 | 99.38 | 99.90 |
| 4. Labeled Background (%) | 60.89 | 71.43 | 98.41 | 95.51 | 95.22 | 97.83 | 100.0 | 99.27 | 97.10 |
| Overall Accuracy - OA (%) | 86.07 | 88.00 | 89.95 | 98.56 | 97.65 | 98.34 | 99.24 | 98.75 | 99.60 |
| Average Accuracy - AA (%) | 80.10 | 84.16 | 94.37 | 97.81 | 96.77 | 97.57 | 99.02 | 98.35 | 99.12 |
| Kappa Coefficient (Kappa x 100) | 78.19 | 81.06 | 85.23 | 97.79 | 96.38 | 97.43 | 98.83 | 98.07 | 99.38 |

■ CRITICAL CLINICAL FINDING: HIGH-FIDELITY TUMOR DETECTION DMCA achieves extraordinary tumor tissue detection rates of 99.97% on MedHSI No. 020-01 and 99.80% on MedHSI No. 015-01. In surgical neuro-oncology, avoiding false negatives in tumor detection is paramount to preventing fatal tumor recurrence.

5.4 Benchmark Comparison on Cholangiocarcinoma MC Dataset

Table III: Quantitative Metric Results on MC Dataset Scene No. x031368-20x-roi3

| Class / Metric | SVM | SVM-Gabor | MFASR | SAE | CNN | RPNet | FMDM | FUST | DMCA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cholangiocarcinoma Tissue (%) | 91.95 | 86.26 | 87.98 | 87.78 | 92.41 | 97.05 | 96.02 | 97.43 | 99.88 |
| Labeled Normal Tissue (%) | 76.33 | 84.98 | 94.14 | 99.03 | 97.77 | 98.29 | 97.47 | 96.80 | 99.62 |
| Overall Accuracy - OA (%) | 83.96 | 85.60 | 91.13 | 93.54 | 95.15 | 97.68 | 96.77 | 97.11 | 99.75 |
| Average Accuracy - AA (%) | 84.14 | 85.62 | 91.06 | 93.40 | 95.09 | 97.67 | 96.75 | 97.12 | 99.75 |
| Kappa (Kappa x 100) | 68.02 | 71.21 | 82.23 | 87.03 | 90.29 | 95.36 | 93.52 | 94.22 | 99.50 |

Table IV: Quantitative Metric Results on MC Dataset Scene No. 033629-3-20x-roi5

| Class / Metric | SVM | SVM-Gabor | MFASR | SAE | CNN | RPNet | FMDM | FUST | DMCA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cholangiocarcinoma Tissue (%) | 44.66 | 43.80 | 76.02 | 79.78 | 86.76 | 94.87 | 95.92 | 93.14 | 99.48 |
| Labeled Normal Tissue (%) | 92.63 | 98.98 | 96.03 | 99.33 | 98.89 | 99.14 | 99.24 | 95.89 | 99.84 |
| Overall Accuracy - OA (%) | 79.51 | 83.89 | 90.56 | 93.99 | 95.57 | 97.97 | 98.33 | 97.14 | 99.74 |
| Average Accuracy - AA (%) | 68.65 | 71.39 | 86.02 | 89.56 | 92.82 | 97.00 | 97.57 | 95.89 | 99.66 |
| Kappa (Kappa x 100) | 41.97 | 51.35 | 75.19 | 83.95 | 88.48 | 94.84 | 95.76 | 92.72 | 99.34 |

5.5 Qualitative Visual Inspection of Classification Maps

Visual evaluation of classification maps (Figures 5–8 in paper) reveals that traditional models (SVM, SVM-Gabor, MFASR) produce widespread salt-and-pepper noise artifacts. Deep models (SAE, CNN, RPNet, FMDM, FUST) improve spatial smoothness but suffer from boundary blurring. DMCA maps match ground-truth maps almost perfectly, delivering sharp boundary delineation and pristine spatial consistency.

6. Ablation Study & Comparitive Analysis

6.1 Design of the 3-Rung Ablation Ladder

To isolate the contribution of each algorithmic innovation, the authors evaluated a 3-rung ablation ladder:

1. DMCA_NL (No Margin Cosine Loss): Removes cosine normalization and margin, using standard uncoupled Softmax loss.

2. DMCA_NC (No Cosine Margin): Applies L2 normalization and cosine loss but sets margin m = 0.

3. DMCA (Full Proposed Model): The full proposed framework with unified classifier constraint and positive cosine margin m.

Table V: Quantitative Ablation Study Metric Results (Paper Section III-E)

| Testing MedHSI Data | Evaluation Metric | DMCA (Full) | DMCA_NL (No Loss Constraint) | DMCA_NC (No Cosine Margin) |
| --- | --- | --- | --- | --- |
| MedHSI-020-01 | Overall Accuracy - OA (%) | 99.62 | 96.53 | 99.19 |
| MedHSI-020-01 | Average Accuracy - AA (%) | 99.53 | 96.12 | 98.95 |
| MedHSI-020-01 | Kappa Coefficient (x 100) | 99.48 | 94.86 | 98.88 |
| MedHSI-015-01 | Overall Accuracy - OA (%) | 99.60 | 97.63 | 98.84 |
| MedHSI-015-01 | Average Accuracy - AA (%) | 99.12 | 95.88 | 97.79 |
| MedHSI-015-01 | Kappa Coefficient (x 100) | 99.38 | 96.34 | 98.21 |

6.2 Quantitative Ablation Analysis

Comparing DMCA with DMCA_NL proves that embedding classifier constraints into feature extraction yields a massive 3.09% OA boost on MedHSI No. 020-01 (99.62% vs 96.53%). Comparing DMCA with DMCA_NC demonstrates that enforcing positive cosine margin m provides an additional 0.43% to 0.76% accuracy gain, proving that angular margins effectively compress intra-class clusters.

6.3 Reference Repository Codebase Synthesis

The codebase structure in the repository (`dmca/` package: `model.py`, `losses.py`, `data.py`, `train.py`, `metrics.py`, `main.py`) mirrors the paper's exact architecture. Running `python main.py` executes the 3-rung ablation ladder on a synthetic MedHSI cube, validating the monotonic loss convergence of Algorithm 1 and saving visual diagnostic maps to `outputs/`.

7. Conclusion and Future Scope

7.1 Methodological Summary

The Deep Margin Cosine Autoencoder (DMCA) framework presented by Wang et al. represents a major milestone in medical hyperspectral image analysis. By unifying feature extraction with classifier preferences, incorporating angular cosine margins, and enforcing L1 feature sparsity, DMCA overcomes the limitations of uncoupled deep learning pipelines, setting a new benchmark in non-invasive tumor diagnosis (99.97% tumor detection fidelity under ultra-sparse 0.1% surgical training splits).

7.2 Clinical Translation & Real-Time Surgical Microscope Integration

Integrating DMCA into intraoperative surgical microscopes and endoscopic cameras offers huge clinical promise. By coupling high-speed hyperspectral sensors with real-time DMCA inference, neurosurgeons can project augmented-reality tumor overlays directly onto the operative field, enabling millimeter-accurate resection.

7.3 Limitations & Cross-Corpus Generalization Challenges

A key operational limitation identified by the authors is cross-corpus generalization. MedHSI data from different clinical centers vary in illumination geometry, sensor response, and spectral resolution. DMCA models trained on one dataset cannot currently be deployed on another without domain adaptation.

7.4 Future Research Horizons

1. Cross-Corpus Domain Adaptation: Developing unsupervised domain adaptation (UDA) and physics-informed transfer learning to enable cross-center model deployment.

2. 3D Spatial-Spectral Fusion: Incorporating 3D spatial-spectral convolutions and vision transformers to capture long-range spatial context alongside spectral angles.

3. Edge GPU Hardware Acceleration: Deploying quantized DMCA models on edge GPUs (e.g., NVIDIA Jetson / TensorRT) to achieve 30+ FPS real-time surgical video processing.

8. Glossary of Key Terms

This section provides formal definitions for key technical, mathematical, and medical terms utilized throughout this report:

Medical Hyperspectral Imaging (MedHSI): An optical diagnostic imaging modality that captures spatial structures alongside continuous spectral reflectance curves across hundreds of narrow contiguous wavelength bands (400 nm - 1000 nm).

Deep Autoencoder (DAE): A neural network architecture comprising multiple stacked encoding layers that compress input vectors into lower-dimensional latent representations, and decoding layers that reconstruct inputs.

Stacked Autoencoder (SAE): A specific deep autoencoder architecture formed by stacking multiple single-layer autoencoders sequentially to learn hierarchical representations.

Margin Cosine Softmax Loss: A loss formulation that applies L2 normalization to weights and features and introduces a positive cosine margin (m) to maximize angular separation between classes.

Classifier-Constrained Feature Learning: An optimization strategy where classifier decision loss is embedded directly as a constraint into autoencoder feature extraction layers.

L1-Norm Sparsity Regularization: A mathematical penalty added to the loss function that forces most feature activations to zero, yielding selective and noise-robust latent representations.

L2 Normalization: Scaling vector components so their Euclidean norm equals 1, converting inner products into pure cosine angular similarities.

Glioblastoma: An aggressive, highly malignant Grade IV brain tumor characterized by rapid microvascular proliferation and parenchyma infiltration.

Cholangiocarcinoma: A malignant adenocarcinoma originating from epithelial cells of the choledoch / bile duct system.

Brain Shift: The physical deformation and spatial displacement of brain tissue following craniotomy, invalidating pre-operative radiological MRI scans.

Frozen-Section Histopathology: The traditional gold-standard intraoperative diagnostic procedure involving tissue excision, freezing, slicing, H&E staining, and microscopic review by pathologists.

Push-Broom Hyperspectral Sensor: A line-scanning optical sensor that captures full spectral vectors for a 1D spatial line, building a 3D hyperspectral cube by scanning across the scene.

Overall Accuracy (OA): The ratio of correctly classified pixels to the total number of test pixels across all classes in a scene.

Average Accuracy (AA): The unweighted arithmetic mean of individual class classification accuracies.

Kappa Coefficient (Kappa x 100): A statistical measure assessing inter-rater agreement for categorical classification, adjusted for agreement occurring by chance.

Alternating Iterative Optimization: An optimization technique that solves complex multi-variable loss functions by iteratively updating one set of parameters while holding others fixed.

Soft-Thresholding Operator: The exact closed-form proximal operator used to solve L1-norm regularized subproblems, setting small values below threshold to zero.

Frobenius Norm: The square root of the sum of absolute squares of matrix elements, used to measure reconstruction error matrix magnitude.

Auxiliary Variable Relaxation: Introducing an intermediate variable (A = W^T H) to decouple non-smooth L1 regularizers from matrix multiplications.

Uncoupled Pipeline Disconnect: The fundamental structural flaw in traditional deep learning where feature extractors are trained independently of classifier head decision boundaries.

References & Bibliography

Formal IEEE-style reference citations compiled from the original publication and domain literature:

[1] H. Li, P. Wu, Z. Wang, J. Mao, F. E. Alsaadi, and N. Zeng, 'A generalized framework of feature learning enhanced convolutional neural network for pathology-image-oriented cancer diagnosis,' Comput. Biol. Med., vol. 151, Art. no. 106265, Dec. 2022.

[2] P. Wu, Z. Wang, B. Zheng, H. Li, F. E. Alsaadi, and N. Zeng, 'AGGN: Attention-based glioma grading network with multi-scale feature extraction and multi-modal information fusion,' Comput. Biol. Med., vol. 152, Art. no. 106457, Jan. 2023.

[3] H. Li, N. Zeng, P. Wu, and K. Clawson, 'Cov-Net: A computer-aided diagnosis method for recognizing COVID-19 from chest X-ray images via machine vision,' Expert Syst. Appl., vol. 207, Art. no. 118029, Nov. 2022.

[4] V. Dremin et al., 'Skin complications of diabetes mellitus revealed by polarized hyperspectral imaging and machine learning,' IEEE Trans. Med. Imag., vol. 40, no. 4, pp. 1207–1216, Apr. 2021.

[5] M. Lv, W. Li, T. Chen, J. Zhou, and R. Tao, 'Discriminant tensor-based manifold embedding for medical hyperspectral imagery,' IEEE J. Biomed. Health Informat., vol. 25, no. 9, pp. 3517–3528, Sep. 2021.

[6] M. Lv et al., 'Spatial-spectral density peaks-based discriminant analysis for membranous nephropathy classification using microscopic hyperspectral images,' IEEE J. Biomed. Health Informat., vol. 25, no. 8, pp. 3041–3051, Aug. 2021.

[7] R. Pike, G. Lu, D. Wang, Z. G. Chen, and B. Fei, 'A minimum spanning forest-based method for noninvasive cancer detection with hyperspectral imaging,' IEEE Trans. Biomed. Eng., vol. 63, no. 3, pp. 653–663, Mar. 2016.

[8] H. Akbari, Y. Kosugi, K. Kojima, and N. Tanaka, 'Detection and analysis of the intestinal ischemia using visible and invisible hyperspectral imaging,' IEEE Trans. Biomed. Eng., vol. 57, no. 8, pp. 2011–2017, Aug. 2010.

[9] S. Kumar, C. Desmedt, D. Larsimont, C. Sotiriou, and E. Goormaghtigh, 'Change in the microenvironment of breast cancer studied by FTIR imaging,' Analyst, vol. 138, no. 14, pp. 4058–4065, Apr. 2013.

[10] Z. Liu, H. Wang, and Q. Li, 'Tongue tumor detection in medical hyperspectral images,' Sensors, vol. 12, no. 1, pp. 162–174, Dec. 2011.

[11] D. T. Dicker et al., 'Differentiation of normal skin and melanoma using high resolution hyperspectral imaging,' Cancer Biol. Therapy, vol. 5, no. 8, pp. 1033–1038, Aug. 2006.

[12] B. Fei, H. Akbari, and L. V. Halig, 'Hyperspectral imaging and spectral-spatial classification for cancer detection,' in Proc. 5th IEEE Int. Conf. Biomed. Eng. Informat. (BMEI), Oct. 2012, pp. 62–64.

[13] H. Akbari, Y. Kosugi, K. Kojima, and N. Tanaka, 'Hyperspectral image segmentation and its application in abdominal surgery,' Int. J. Funct. Inform. Personalised Med., vol. 2, no. 2, pp. 201–216, Aug. 2009.

[14] Q. Li, X. He, Y. Wang, H. Liu, D. Xu, and F. Guo, 'Review of spectral imaging technology in biomedical engineering: Achievements and challenges,' J. Biomed. Opt., vol. 18, no. 10, Art. no. 100901, Oct. 2013.

[15] G. S. Verebes et al., 'Hyperspectral enhanced dark field microscopy for imaging blood cells,' J. Biophoton., vol. 6, nos. 11–12, pp. 960–967, Aug. 2013.

[16] M. Halicek et al., 'Deep convolutional neural networks for classifying head and neck cancer using hyperspectral imaging,' J. Biomed. Opt., vol. 22, no. 6, Art. no. 060503, Jun. 2017.

[17] X. Li, W. Li, X. Xu, and W. Hu, 'Cell classification using convolutional neural networks in medical hyperspectral imagery,' in Proc. 2nd Int. Conf. Image, Vis. Comput. (ICIVC), Jun. 2017, pp. 501–504.

[18] Q. Wang et al., 'Identification of melanoma from hyperspectral pathology image using 3D convolutional networks,' IEEE Trans. Med. Imag., vol. 40, no. 1, pp. 218–227, Jan. 2021.

[19] X. Wei, W. Li, M. Zhang, and Q. Li, 'Medical hyperspectral image classification based on end-to-end fusion deep neural network,' IEEE Trans. Instrum. Meas., vol. 68, no. 11, pp. 4481–4492, Nov. 2019.

[20] Q. Hao et al., 'Fusing multiple deep models for in vivo human brain hyperspectral image classification to identify glioblastoma tumor,' IEEE Trans. Instrum. Meas., vol. 70, pp. 1–14, 2021.

[21] W. Zeng et al., 'Microscopic hyperspectral image classification based on fusion transformer with parallel CNN,' IEEE J. Biomed. Health Informat., vol. 27, no. 6, pp. 2910–2921, Jun. 2023.

[22] H. Fabelo et al., 'In-vivo hyperspectral human brain image database for brain cancer detection,' IEEE Access, vol. 7, pp. 39098–39116, 2019.

[23] H. Fabelo et al., 'Spatio-spectral classification of hyperspectral images for brain cancer detection during surgical operations,' PLoS ONE, vol. 13, no. 3, Art. no. e0193721, Mar. 2018.

[24] Q. Zhang, Q. Li, G. Yu, L. Sun, M. Zhou, and J. Chu, 'A multidimensional choledoch database and benchmarks for cholangiocarcinoma diagnosis,' IEEE Access, vol. 7, pp. 149414–149421, 2019.

[25] L. Sun et al., 'Diagnosis of cholangiocarcinoma from microscopic hyperspectral pathological dataset by deep convolution neural networks,' Methods, vol. 202, pp. 22–30, Jun. 2022.

[26] W. Li and Q. Du, 'Gabor-filtering-based nearest regularized subspace for hyperspectral image classification,' IEEE J. Sel. Topics Appl. Earth Observ. Remote Sens., vol. 7, no. 4, pp. 1012–1022, Apr. 2014.

[27] L. Fang, C. Wang, S. Li, and J. A. Benediktsson, 'Hyperspectral image classification via multiple-feature-based adaptive sparse representation,' IEEE Trans. Instrum. Meas., vol. 66, no. 7, pp. 1646–1657, Jul. 2017.

[28] Y. Chen, Z. Lin, X. Zhao, G. Wang, and Y. Gu, 'Deep learning-based classification of hyperspectral data,' IEEE J. Sel. Topics Appl. Earth Observ. Remote Sens., vol. 7, no. 6, pp. 2094–2107, Jun. 2014.

[29] W. Hu, Y. Huang, L. Wei, F. Zhang, and H. Li, 'Deep convolutional neural networks for hyperspectral image classification,' J. Sensors, vol. 2015, Art. no. 258619, Jan. 2015.

[30] Y. Xu, B. Du, F. Zhang, and L. Zhang, 'Hyperspectral image classification via a random patches network,' ISPRS J. Photogramm. Remote Sens., vol. 142, pp. 344–357, Aug. 2018.